| ### Aspects | Impact | Controls |
| --- | --- | --- |
| General Aspects |  |  |
| Operation of vehicles | Air pollution | Choice of low emission fuels Maintenance of vehicles including regular tuning |
|  | Use of non-renewable energy | Maintenance of vehicles including regular tuning, Logbook of vehicle mileage and fuel purchases |
| Operation of office | Generation of waste | Improve recycling Examine methods to minimise waste generation |
|  | Use of energy | Switch of lights when not in use, use sticky labels on switches Convert to energy efficient bulbs and forms of heating |
| Storage of diesel | Fire risk | Follow best practice for diesel storage |
|  | Spillage risk | Follow best practice for diesel storage Locate diesel tank on a bund capable of carrying 110% of volume Locate tank in a safe and suitable position |
| Landscaping effects | Visual impact | Consult with relevant local or regional council Discuss with customer to determine how they would like the impact to be addressed |
|  | Soil structure changes | Minimise use of heavy vehicles on site |
|  | Soil compaction | Minimise use of heavy vehicles on site |
|  | Erosion | Minimise use of heavy vehicles on site Replant vegetation as soon as practical Plant grass and other similar plants to hold the soil |
|  | Loss of vegetation | Replant on a ratio of one plant per one removed |
|  | Salination | Monitor irrigation to ensure runoff is minimised- use timers |
|  | Water quality impacts | Prune in a manner that minimises the amount of debris entering the waterway |
|  | Damage to waterways-caused by logs falling in or being dragged through waterways | Logs and other materials should not be dragged through waterways |
| Site Preparation | Erosion- caused by disturbance to topsoil and removal of vegetation | Minimise use of heavy vehicles on site Replant vegetation as soon as practical Plant grass and other similar plants to hold the soil |
| Storage of fuel or chemicals | Potential pollution to waterways | Follow best practice for diesel storage Locate diesel tank on a bund capable of carrying 110% of volume Locate tank in a safe and suitable position |
|  | Potential pollution of soil | Follow best practice for diesel storage Locate diesel tank on a bund capable of carrying 110% of volume Locate tank in a safe and suitable position |
| Road maintenance | Dust | All exposed and unsealed/ ungrassed surfaces and stockpiles of dust generating materials kept moist Truck loads shall be covered |
|  | Noise | Restrict hours if necessary- to daylight hours or hours with the least disturbance Noise buffers can be created Alternative road surfaces considered for big projects Vegetation may be used but isn’t as effective as is usually considered |
| Sealing and repairs of roads | Dust | All exposed and unsealed/ ungrassed surfaces and stockpiles of dust generating materials kept moist Truck loads shall be covered |
|  | Noise | Restrict hours if necessary- to daylight hours or hours with the least disturbance Noise buffers can be created Alternative road surfaces considered for big projects Vegetation may be used but isn’t as effective as is usually considered |
|  | Erosion | Minimise use of heavy vehicles on site Replant vegetation as soon as practical Plant grass and other similar plants to hold the soil Use of terraced slopes, retaining structures Drainage improvements may need to be considered such as drains |
|  | Effects on vegetation | Spoil material should be removed as it can damage vegetation Removal of plants and replanting when construction is completed Or planting of suitable plants to improve environment Wind damage can be minimised by the use of artificial windbreaks |
| Culvert/ Bridge Construction | Noise | Restrict hours if necessary- to daylight hours or hours with the least disturbance Noise buffers can be created Alternative road surfaces considered for big projects Vegetation may be used but isn’t as effective as is usually considered |
|  | Dust | All exposed and unsealed/ ungrassed surfaces and stockpiles of dust generating materials kept moist Truck loads shall be covered |
|  | Effect on native fauna | No activity should block the migratory route of indigenous fish, culverts should allow for fish to move through them |
|  | Sedimentation runoff into waterways | Select project design that minimises erosion. Consider maintenance requirements post-construction |
| Maintenance of water supplies and sewage tanks | Potential health risk to staff | Use best practice guidelines to minimise risk to staff |
|  | Flooding causing damage to property, environment | Identify prior to project commencing potential risks associated, consider the possibility of adverse weather and design project accordingly |
|  | Cultural and spiritual values associated with water | Consult with relevant local or regional council Determine who the relevant local iwi is and consult with them |